## Slide 1: Why don’t my Hyprop and WP4C Soil Moisture Characteristic Curves align?

## Slide 2: 2 reasons for shift
Hysteresis
Osmotic potential offset

## Slide 3
Hysteresis in SMCC

## Slide 4
Hysteresis observed in all samples (even sand)

## Slide 5: Schwana loamy fine sand

## Slide 6: Palouse silt loam

## Slide 8: How do I avoid hysteresis offset?
Make WP4C samples from drying soil instead of moistening soil
Let’s go to the lab and practice

## Slide 9: Osmotic potential offset
Hyprop measures matric component of water potential
WP4C measures total water potential or matric + osmotic potential
Soils with low salinity (low EC), no problem
Saline or high EC soils, osmotic offset problem

## Slide 10: Osmotic potential offset

## Slide 11: Example with 1.4 dS/m saturation extract EC

## Slide 12: Correcting osmotic offset
Ψos is osmotic potential at saturation (MPa)
ECe is saturation extract EC (dS/m)
Step 1: Determine osmotic potential of saturated soil
Or measure Ψos of saturated soil with WP4C

## Slide 13: Correcting osmotic offset
Step 2: Determine osmotic potential across all water content levels
Ψo is osmotic potential at a given water content level w
ws is water content at saturation

## Slide 14: Osmotic potential example
0.46 dS/m ECe

## Slide 15: Osmotic potential example

## Slide 16: Best practices for wet end SMCCs
Temperature stability is the key!
Let’s go to the lab and practice